# Electrotechnology
Curriculum Framework

Stage 6 Syllabus

based on the UEE Electrotechnology Training Package (version 6.0)

for implementation from 2022

Published	October 2021 (v3)

Updated 	May 2022 (v3.1)

Updated 	November 2022 (v4)

Updated 	November 2023 (v6)

NESA acknowledges Traditional Owners and Custodians of Country throughout NSW, and pays respect to Elders past and present. NESA recognises Aboriginal Peoples’ continuing Cultures and Connections to lands, waters, skies and Community.

Released October 2021, updated May 2022, updated November 2022, updated November 2023

© 2023 NSW Education Standards Authority

The documents on the NSW Education Standards Authority (NESA) website and the NSW Curriculum website contain material prepared by NESA for and on behalf of the Crown in right of the State of New South Wales. The material is protected by Crown copyright.

These websites hold the only official and up-to-date versions of the documents available on the internet. Any other copies of these documents, or parts of these documents, that may be found elsewhere on the internet might not be current and are not authorised. You cannot rely on copies from any other source.

All rights are reserved. No part of the material may be:

reproduced in Australia or in any other country by any process, electronic or otherwise, in any material form

transmitted to any other person or stored electronically in any form without the written permission of NESA except as permitted by the Copyright Act 1968 (Cth).

When you access the material you agree:

to use the material for research or study, criticism or review, reporting news and parody or satire

to use the material for information purposes only

not to modify the material or any part of the material without the written permission of NESA

to reproduce a single copy for personal bona fide study use only and not to reproduce any major extract or the entire material without the permission of NESA

to include this copyright notice in any copy made

to acknowledge that NESA is the source of the material.

The documents may include third-party copyright material such as photos, diagrams, quotations, cartoons and artworks. This material is protected by Australian and international copyright laws and may not be reproduced or transmitted in any format without the copyright owner’s permission. Unauthorised reproduction, transmission or commercial use of such copyright material may result in prosecution.

NESA has made all reasonable attempts to locate owners of third-party copyright material. NESA invites anyone from whom permission has not been sought to contact the Copyright Officer.

Published by

NSW Education Standards Authority
GPO Box 5300
Sydney NSW 2001
Australia

www.educationstandards.nsw.edu.au

Phone: (02) 9367 8289
Fax: (02) 9279 1482
Email: copyright@nesa.nsw.edu.au

D2023/422807	D2023/422809

Acknowledgements

Units of competency from the UEE Electrotechnology Training Package in this syllabus are © Commonwealth of Australia. Reproduced with permission. The following disclaimer applies to the material from the Training Package:

This work is the result of wide consultations with Australian industry participants. It is a collaborative view and does not necessarily represent the view of the Department or any specific body. For the sake of brevity it may omit factors which could be pertinent in particular cases.

While care has been taken in the preparation of this Training Package, the Department and the original developer do not warrant that any licensing or registration requirements specified here are either complete or up-to-date for your State or Territory. The Department and the original developer do not accept any liability for any damage or loss (including indirect and consequential loss) incurred by any person as a result of relying on the information contained in this Training Package, or incorporated into it by reference. No responsibility is taken for any information or services which may appear on any linked websites.

Contents

1	Introduction to the Electrotechnology Curriculum Framework	5

1.1	AQF VET qualifications available in the Electrotechnology Curriculum Framework	5

1.2	Industry context – electrotechnology	5

1.3	HSC VET course and AQF VET qualification completion requirements	6

1.3.1	HSC VET course requirements	6

1.3.2	AQF VET qualification requirements	6

1.4	HSC VET course delivery	7

1.5	Outcomes and content	7

1.6	Assessment requirements and advice	7

2	Course structures and requirements	8

2.1	Electrotechnology HSC VET courses	8

2.1.1	Unit credit for the Higher School Certificate	8

2.1.2	NESA course numbers	9

2.1.3	HSC examination number	9

2.1.4	Allocation of HSC indicative hours of credit	9

2.1.5	Work placement requirements	10

2.2	Electrotechnology (120 indicative hours)	11

2.3	Electrotechnology (240 indicative hours)	12

2.4	Electrotechnology Specialisation Study  (60 or 120 indicative hours)	13

2.5	Electrotechnology units of competency	14

2.5.1	Associated mandatory units of competency and focus areas for the 240-hour course	14

2.5.2	HSC elective pool	15

2.5.3	Additional HSC elective pool for school-based apprentices	18

3	HSC Content	21

3.1	Components, tools and equipment – mandatory focus area	22

3.1.1	Outcomes	22

3.1.2	Associated units of competency	22

3.1.3	Scope of learning for the HSC	24

3.2	Drawings, diagrams and compliance – mandatory focus area	30

3.2.1	Outcomes	30

3.2.2	Associated unit of competency	30

3.2.3	Scope of learning for the HSC	31

3.3	Safety – mandatory focus area	34

3.3.1	Outcomes	34

3.3.2	Associated unit of competency	34

3.3.3	Scope of learning for the HSC	35

3.4	Single path circuits – mandatory focus area	40

3.4.1	Outcomes	40

3.4.2	Associated unit of competency	40

3.4.3	Scope of learning for the HSC	41

3.5	Sustainability – mandatory focus area	47

3.5.1	Outcomes	47

3.5.2	Associated unit of competency	47

3.5.3	Scope of learning for the HSC	49

3.6	Working in the industry – mandatory focus area	52

3.6.1	Outcomes	52

3.6.2	Associated unit of competency	52

3.6.3	Scope of learning for the HSC	53

4	HSC examination	59

4.1	Examinable outcomes and content	59

4.2	Relationship of the 240-hour course structure to the HSC examination	59

5	Other important information	60

5.1	Exclusions	60

5.2	Recognition of prior learning (RPL) and credit transfer within VET courses	60

5.3	School-based apprentices and trainees	60

5.4	Industries related to Electrotechnology	60

5.5	Students with disability	61

5.6	Access by students in Years 9 and 10 (Stage 5)	61

6	Glossary	62

# 1	Introduction to the Electrotechnology Curriculum Framework

Industry curriculum frameworks (Frameworks) provide students with the opportunity to gain industry-recognised national vocational qualifications under the Australian Qualifications Framework (AQF) as part of their NSW Higher School Certificate (HSC).

HSC courses within Frameworks count as Board Developed unit credit for the HSC. Frameworks include an HSC examination which provides the opportunity for students to have this HSC examination mark contribute to the calculation of their Australian Tertiary Admission Rank (ATAR).

## 1.1	AQF VET qualifications available in the Electrotechnology Curriculum Framework

The Electrotechnology Curriculum Framework is based on qualifications and units of competency contained in the nationally endorsed UEE Electrotechnology Training Package.

The AQF VET qualifications available in the Electrotechnology Curriculum Framework are:

UEE20520 Certificate II in Computer Assembly and Repair

UEE21720 Certificate II in Technical Support

UEE22020 Certificate II in Electrotechnology (Career Start)

UEE30820 Certificate III in Electrotechnology Electrician – Statement of Attainment only.

## 1.2	Industry context – electrotechnology

The electrotechnology industry includes the design, maintenance, installation and repair for all electrical and electronic equipment. The technology stretches across many sectors, including mining, manufacturing, communications, construction, renewables, domestic, commercial and industrial refrigeration and air-conditioning.

The electrical services industry (a subsector within electrotechnology) involves electrical wiring or fittings in buildings and other construction projects, and repair and maintenance of existing electrical equipment and fixtures.

The industry is transitioning towards decarbonisation and there is a growing interest in renewable technologies and solar installations.

Rail infrastructure projects have created further opportunities for the electrotechnology sector, with electricians playing an important role in rail signalling. Computer and communication systems form an integral part of smart and automated systems and platforms used in all industries. The industry is looking at a 7% employment growth by 2026.

## 1.3	HSC VET course and AQF VET qualification completion requirements

The requirements for the completion of an HSC VET course are different to the requirements for AQF VET qualification completion. Registered Training Organisations (RTOs) need to ensure that delivery of courses meets HSC course requirements and complies with Training Package rules.

### 1.3.1	HSC VET course requirements

HSC VET courses in the Electrotechnology Curriculum Framework are made up of:

units of competency:

associated HSC mandatory units of competency

HSC elective units of competency

HSC outcomes and content

mandatory HSC work placement requirements.

For a student to be considered to have satisfactorily completed a course within the Electrotechnology Curriculum Framework they must meet the:

HSC VET course requirements (refer to Sections 2.2–2.5 of this syllabus)

requirements for satisfactory course completion (refer to the NESA Assessment Certification Examination (ACE) website). There must be sufficient evidence that the student has:

followed the course developed by NESA

applied themselves with diligence and sustained effort to the set tasks and experiences provided in the course

achieved some or all of the course outcomes

undertaken the mandatory work placement.

### 1.3.2	AQF VET qualification requirements

To receive AQF VET qualifications, students must meet the assessment requirements of the UEE Electrotechnology Training Package (training.gov.au).

AQF VET qualifications are determined by the qualification rules for each Training Package, referred to as qualification packaging rules. The qualification packaging rules describe the number and range of core and elective units of competency required for eligibility for an AQF VET qualification.

Units of competency should be selected to meet qualification packaging rules for the intended qualification pathway. Selection of units of competency should also be guided by the job outcome sought and local industry requirements.

Qualification packaging rules for the AQF VET qualifications available through the Electrotechnology Curriculum Framework are contained in the UEE Electrotechnology Training Package. Refer to the Status of units of competency for qualifications in the Electrotechnology Curriculum Framework document to see how qualifications can be achieved through the Framework.

## 1.4	HSC VET course delivery

HSC VET courses can only be delivered by an RTO with the relevant qualification and units of competency on their scope of registration. Scope of registration can be checked at training.gov.au.

RTOs offering training programs for the delivery and assessment of the Electrotechnology HSC VET courses must meet the requirements of the VET Quality Framework, the UEE Electrotechnology Training Package and the HSC course.

Information about the delivery of HSC VET courses by RTOs other than school system RTOs or TAFE NSW is contained on the ACE website.

Non-government schools outsourcing delivery of HSC VET courses to external providers also need to refer to the Registered and Accredited Individual Non-government Schools (NSW) Manual or Registration Systems and Member Non-government Schools (NSW) Manual.

## 1.5	Outcomes and content

The HSC outcomes and content for this Framework are defined in:

the units of competency (refer to Section 2.5 of this syllabus)

HSC Content focus areas (refer to Section 3 of this syllabus).

## 1.6	Assessment requirements and advice

HSC VET courses are competency-based. NESA and the VET Quality Framework require that a competency-based approach to assessment is used. For more advice on appropriate assessment practice in relation to the Electrotechnology Curriculum Framework see Assessment and Reporting in Electrotechnology.

An integrated or holistic approach to course delivery and assessment should be adopted.

# 2	Course structures and requirements

## 2.1	Electrotechnology HSC VET courses

This Framework specifies the range of industry-developed units of competency from the UEE Electrotechnology Training Package for inclusion in the HSC. It describes how these units of competency are arranged in HSC VET courses to gain unit credit for the HSC.

The Electrotechnology Curriculum Framework contains the following courses:

Electrotechnology (120 indicative hours) – see Section 2.2 of this syllabus

Electrotechnology (240 indicative hours) – see Section 2.3 of this syllabus

Electrotechnology Specialisation Study (60 or 120 indicative hours) – see Section 2.4 of this syllabus.

### 2.1.1	Unit credit for the Higher School Certificate

To facilitate flexibility of VET in the HSC, courses within the Electrotechnology Curriculum Framework may be delivered as Preliminary, as HSC or as a combination of Preliminary and HSC units.

The HSC credit units will be allocated to students’ Preliminary and/or HSC patterns of study as required.

The pattern of study (NESA course number) entered on Schools Online should reflect the delivery of the HSC VET course over successive years. For example, delivery of the 240 HSC indicative hour course over 2 years should be entered as 2 units x 2 years. Students will be credentialled for the HSC credit units entered each calendar year, provided they have satisfactorily completed the course requirements for that calendar year as determined by the school, college or RTO.

#### Table 1	HSC credit units for Electrotechnology HSC courses

| HSC VET course | HSC credit units |
| --- | --- |
| Electrotechnology (120 indicative hours) | 2 |
| Electrotechnology (240 indicative hours) | 4 |
| Electrotechnology Specialisation Study (60 indicative hours) | 1 |
| Electrotechnology Specialisation Study (120 indicative hours) | 2 |

### 2.1.2	NESA course numbers

#### 26320 – Electrotechnology (120 indicative hours)

Pattern of study:	2 units x 1 year

Enter this NESA course number for either Year 11 (Preliminary) or Year 12 (HSC) on Schools Online.

#### 26321 – Electrotechnology (240 indicative hours)

Pattern of study:	2 units x 2 years

Enter this NESA course number for both Year 11 (Preliminary) and Year 12 (HSC) on Schools Online.

#### 26322 – Electrotechnology (240 indicative hours)

Pattern of study:	4 units x 1 year

Enter this NESA course number for either Year 11 (Preliminary) or Year 12 (HSC) on Schools Online.

#### 26323 – Electrotechnology Specialisation Study (60 indicative hours)

Pattern of study:	1 unit x 1 year

Enter this NESA course number for either Year 11 (Preliminary) or Year 12 (HSC) on Schools Online.

#### 26324 – Electrotechnology Specialisation Study (120 indicative hours)

Pattern of study:	2 units x 1 year

Enter this NESA course number for either Year 11 (Preliminary) or Year 12 (HSC) on Schools Online.

### 2.1.3	HSC examination number

#### 26399 – Electrotechnology HSC examination

Enter this NESA course number on Schools Online as a Year 12 (HSC) entry in the year the examination is undertaken.

### 2.1.4	Allocation of HSC indicative hours of credit

Units of competency drawn from Training Packages are not defined in terms of duration. The amount of time required by individual students to achieve competency will vary according to their aptitude and experience. Where a training program is designed for delivery by an RTO, the RTO will specify the length of the training program according to the delivery strategies and/or curriculum resources chosen.

However, for the purposes of the HSC, VET courses must be described in terms of their indicative hours. For this reason, indicative hours for unit credit towards the HSC have been assigned to each unit of competency within the Framework. It is emphasised that the assignment of indicative hours does not imply that all students will fulfil all requirements of a unit of competency within these hours. RTOs may determine that additional or fewer hours are required for the achievement of particular competencies. However, this does not alter the HSC indicative hours allocated, only the delivery hours.

Students may need to spend additional time practising skills in a work environment and completing projects and assignments, in order to fulfil Training Package assessment requirements.

The HSC indicative hours assigned to each unit of competency are listed in Section 2.5 of this syllabus.

It is anticipated the majority of students completing the 240-hour course under regular course arrangements, with an enrolment in a Certificate II qualification, would have the opportunity to achieve the qualification.

### 2.1.5	Work placement requirements

Work placement is a mandatory HSC requirement within this Framework and minimum hours have been assigned to HSC VET courses.

Work placement is to be undertaken in an appropriate electrotechnology work environment.

Students undertaking courses as part of a school-based apprenticeship or traineeship will meet mandatory work placement hour requirements through the on-the-job training component of the apprenticeship or traineeship.

For units of competency that must be assessed in an electrotechnology work environment, work placement provides an opportunity to collect evidence required for a student to be deemed competent.

Recognition of prior learning (RPL) may be granted for mandatory work placement requirements. Students’ outside employment (ie not under the auspices of the school) may be recognised towards the requirement for work placement in a VET course (ACE 8051).

Non-completion of work placement is grounds for withholding the HSC course. Schools and colleges are advised to follow the procedure for issuing ‘N’ determinations as outlined on the ACE website.

Students must complete the following work placement for Electrotechnology Curriculum Framework courses.

#### Table 2	Minimum work placement hours for Electrotechnology HSC courses

| Electrotechnology Framework course | Minimum work placement requirement |
| --- | --- |
| Electrotechnology (120 indicative hours) | 35 hours |
| Electrotechnology (240 indicative hours) | 70 hours |
| Electrotechnology Specialisation Study (60 indicative hours) | met through the on-the-job component of the school-based apprenticeship |
| Electrotechnology Specialisation Study (120 indicative hours) |  |

For more information see Work Placement in Electrotechnology.

## 2.2	Electrotechnology (120 indicative hours)

AQF VET qualifications

The Electrotechnology (120 indicative hours) course provides a pathway to the following qualifications:

Statement of Attainment towards:

UEE20520 Certificate II in Computer Assembly and Repair

UEE21720 Certificate II in Technical Support

UEE22020 Certificate II in Electrotechnology (Career Start)

Course structure

This course consists of units of competency from the HSC mandatory and/or HSC elective pool.

(See Section 2.5 of this syllabus.)

Course requirements

Students must attempt:

a selection of units of competency from the HSC mandatory and/or HSC elective pool to a minimum of 120 HSC indicative hours

a minimum of 35 hours of work placement.

## 2.3	Electrotechnology (240 indicative hours)

AQF VET qualifications

The Electrotechnology (240 indicative hours) course provides a pathway to the following qualifications:

UEE20520 Certificate II in Computer Assembly and Repair

UEE21720 Certificate II in Technical Support

UEE22020 Certificate II in Electrotechnology (Career Start)

Statement of Attainment towards:

UEE30820 Certificate III in Electrotechnology Electrician – school-based apprentices only.

Course structure

This course consists of:

6 mandatory focus areas (containing 8 associated units of competency)

a range of elective units of competency from the HSC elective pool

HSC Content – for the mandatory focus areas.

(See Section 2.5 and Section 3 of this syllabus.)

Course requirements

Students must attempt:

7 associated HSC mandatory units of competency (totalling 155–165 HSC indicative hours) with 6 mandatory focus areas (HSC Content)

HSC elective units of competency from the HSC elective pool to bring the course total to a minimum of 240 HSC indicative hours

a minimum of 70 hours of work placement.

For students undertaking a school-based apprenticeship, additional elective units of competency are available. These are listed in Section 2.5.3 of this syllabus.

Electrotechnology HSC examination

An external written HSC examination will be conducted for the 240 indicative hour course (refer to Section 4 of this syllabus).

The HSC Content (focus areas) for the HSC examination is detailed in Section 3 of this syllabus.

## 2.4	Electrotechnology Specialisation Study 
(60 or 120 indicative hours)

Course eligibility

The purpose of the Electrotechnology Specialisation Study is for school-based apprentices to gain further credit towards their Certificate III qualification.

The Electrotechnology Specialisation Study is available only to students who are currently entered in, or have completed, the Electrotechnology (240 indicative hours) course.

AQF VET qualification

The Electrotechnology Specialisation Study (60 or 120 indicative hours) course provides a pathway to the following qualification:

Statement of Attainment towards UEE30820 Certificate III in Electrotechnology Electrician – school-based apprentices only.

Course structure

This Specialisation Study consists of units of competency from the HSC elective pool and the additional HSC elective pool for school-based apprentices.

(See Section 2.5 of this syllabus.)

Course requirements

Students must attempt:

a minimum of 60 or 120 HSC indicative hours of units of competency not previously undertaken from the HSC elective pool and/or the additional HSC elective pool for school-based apprentices.

## 2.5	Electrotechnology units of competency

Details of units of competency listed in Sections 2.5.1 – 2.5.3 below are available in the UEE Electrotechnology Training Package at training.gov.au.

### 2.5.1	Associated mandatory units of competency and focus areas for the 240-hour course

Attempt the following units of competency:

#### Components, tools and equipment

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0019 | Fabricate, assemble and dismantle utilities industry components Prerequisite: UEECD0007 | 30 | 40 |
| UEECD0020 | Fix and secure electrotechnology equipment* Prerequisite: UEECD0007 | 15 | 20 |

*	For HSC courses purposes, an RTO may choose to deliver UEECD0052 Use routine equipment/plant/
technologies in an energy sector environment (prerequisite UEECD0007) instead of UEECD0020, provided all aspects of the HSC content in the Components, tools and equipment focus area are covered as outlined in Section 3.1 of this syllabus.

#### Drawings, diagrams and compliance

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0051 | Use drawings, diagrams, schedules, standards, codes and specifications Prerequisite: UEECD0007 | 25 | 40 |

#### Safety

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0007 | Apply work health and safety regulations, codes and practices in the workplace | 15 | 20 |

#### Single path circuits

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0046 | Solve problems in single path circuits Prerequisite: UEECD0007 | 40 | 40 |

#### Sustainability

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEERE0001 UEERE0021 | Apply environmentally and sustainable procedures in the energy sector OR Provide basic sustainable energy solutions for energy reduction in residential premises | 15 25 | 20 40 |

#### Working in the industry

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0009 | Carry out routine work activities in an energy sector environment Prerequisite: UEECD0007 | 15 | 40 |

PLUS a selection of units of competency from the HSC elective pool to bring the course total to a minimum of 240 HSC indicative hours.

### 2.5.2	HSC elective pool

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| BSBOPS203 | Deliver a service to customers | 15 | 20 |
| CPCCWHS1001 or CPCWHS1001 | Prepare to work safely in the construction industry Prepare to work safely in the construction industry | 10 | 10 |
| HLTAID009 | Provide cardiopulmonary resuscitation | 5 | 10 |
| ICTICT214 | Operate application software packages | 20 | 20 |
| ICTTEN203 | Install and configure a home or small office network | 25 | 20 |
| ICTTEN204 | Install and configure a small to medium business network | 25 | 20 |
| ICTTEN205 | Build and maintain a secure network | 25 | 20 |
| UEEAS0001 | Assemble electronic components Prerequisite: UEECD0007 | 20 | 40 |
| UEEAS0004 | Select electronic components for assembly Prerequisite: UEECD0007 | 15 | 20 |
| UEECD0008 | Carry out preparatory energy sector work activities Prerequisite: UEECD0007 | 30 | 60 |
| UEECD0016 | Document and apply measures to control WHS risks associated with electrotechnology work Prerequisite: UEECD0007 | 10 | 20 |
| UEECD0021 | Identify and select components, accessories and materials for energy sector work activities Prerequisites: UEECD0007 UEECD0009 | 10 | 20 |
| UEECD0025 | Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits Prerequisites: UEECD0007 UEECD0020 UEECD0051 | 20 | 40 |
| UEECD0027 | Participate in development and follow a personal competency development plan | 10 | 20 |
| UEECD0033 | Produce products for carrying out energy sector work activities Prerequisites: UEECD0007 UEECD0019 | 20 | 40 |
| UEECD0034 | Produce routine tools/devices for carrying out energy sector work activities Prerequisite: UEECD0007 | 20 | 40 |
| UEECD0035 | Provide basic instruction in the use of electrotechnology apparatus | 10 | 20 |
| UEECD0038 | Provide solutions and report on routine electrotechnology problems | 25 | 60 |
| UEECD0043 | Solve problems in direct current circuits Prerequisite: UEECD0007 | 50 | 80 |
| UEECD0052 | Use routine equipment/plant/technologies in an energy sector environment Prerequisite: UEECD0007 | 15 | 40 |
| UEECO0002 | Maintain documentation | 10 | 20 |
| UEECO0016 | Receive and store materials and equipment for electrotechnology work | 10 | 20 |
| UEECO0017 | Source and purchase material/parts for installation or service jobs | 10 | 20 |
| UEECS0003 | Assemble, set up and test computing devices Prerequisite: UEECD0007 | 25 | 80 |
| UEECS0022 | Install and configure a client computer operating system and software | 25 | 40 |
| UEECS0029 | Set up and configure basic local area network (LAN) Prerequisites: UEECS0003 UEECD0007 | 35 | 80 |
| UEEEC0060 | Repairs basic electronic apparatus faults by replacement of components Prerequisites: UEECD0007 UEECD0019 | 30 | 40 |
| UEEEL0004 | Carry out basic repairs to electrical components and equipment Prerequisites: UEECD0007 UEECD0019 | 30 | 40 |
| UEEEL0074 | Wind electrical coils Prerequisites: UEECD0007 UEECD0019 UEECD0051 | 25 | 40 |
| UEEIC0012 | Develop structured programs to control external devices Prerequisite: UEECD0007 | 20 | 40 |
| UEERA0035 | Establish the basic operating conditions of air conditioning systems Prerequisite: UEECD0007 | 35 | 20 |
| UEERA0059 | Prepare and connect refrigerant tubing and fittings Prerequisite: UEECD0007 | 30 | 40 |
| UEERE0001 | Apply environmentally and sustainable procedures in the energy sector | 10 | 20 |
| UEERE0086 | Promote sustainable energy practices | 25 | 40 |
| UEERL0001 | Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply Prerequisite: UEECD0007 | 20 | 20 |

### 2.5.3	Additional HSC elective pool for school-based apprentices

| Unit code | Unit title | HSC indicative hours | Weighting points |
| --- | --- | --- | --- |
| UEECD0044 | Solve problems in multiple path circuits Prerequisites: UEECD0007 UEECD0046 | 45 | 40 |
| UEECO0023 | Participate in electrical work and competency development activities | 15 | 60 |
| UEECS0033 | Use engineering applications software on personal computers | 30 | 40 |
| UEEDV0005 | Install and maintain cabling for multiple access to telecommunication services Prerequisites: UEECD0007 UEECD0019 UEECD0020 UEECD0051 and UEECD0043 or UEECD0044 UEECD0046 | 60 | 80 |
| UEEEL0016 | Provide advice on effective and energy efficient lighting products | 15 | 20 |
| UEEEL0017 | Repair and maintain mechanical components of electrical machines Prerequisites: UEECD0007 UEECD0019 UEECD0020 UEECD0051 UEEEL0004 | 30 | 40 |
| UEEEL0019 | Solve problems in direct current (d.c.) machines Prerequisites: UEECD0007 UEEEL0021 and UEECD0043 or UEECD0044 UEECD0046 | 30 | 30 |
| UEEEL0021 | Solve problems in magnetic and electromagnetic devices Prerequisites: UEECD0007 and UEECD0043 or UEECD0044 UEECD0046 | 30 | 30 |
| UEEEL0022 | Supply effective and efficient lighting products for domestic and small commercial applications Prerequisite: UEEEL0016 | 15 | 40 |
| UEEEL0023 | Terminate cables, cords and accessories for low voltage circuits Prerequisites: UEECD0007 UEECD0019 UEECD0020 UEECD0051 and UEECD0043 or UEECD0044 UEECD0046 | 25 | 40 |
| UEEEL0056 | Place and connect electrical coils Prerequisites: UEECD0007 UEECD0019 UEECD0051 UEEEL0074 and UEECD0043 or UEECD0044 UEECD0046 | 25 | 40 |
| UEEEL0061 | Provide advice on the application of energy efficient lighting for ambient and aesthetic effect Prerequisites: UEEEL0016 UEEEL0022 | 15 | 20 |
| UEEIC0002 | Assemble, enter and verify operating instructions in microprocessor equipped devices Prerequisite: UEECD0007 | 15 | 20 |
| UEEIC0013 | Develop, enter and verify discrete control programs for programmable controllers Prerequisite: UEECD0007 | 35 | 60 |
| UEEIC0038 | Solve problems in density/level measurement components and systems Prerequisites: UEECD0007 UEECD0051 UEEIC0041 UEEIC0047 | 30 | 40 |
| UEEIC0039 | Solve problems in flow measurement components and systems Prerequisites: UEECD0007 UEECD0051 UEEIC0041 UEEIC0047 | 30 | 40 |
| UEEIC0041 | Solve problems in pressure measurement components and systems Prerequisites: UEECD0007 UEECD0051 UEEIC0047 | 30 | 40 |
| UEEIC0043 | Solve problems in temperature measurement components and systems Prerequisites: UEECD0007 UEECD0051 UEEIC0047 | 30 | 40 |
| UEEIC0047 | Use instrumentation drawings, specifications, standards and equipment manuals Prerequisites: UEECD0007 UEECD0051 | 25 | 40 |

# 3	HSC Content

The HSC Content for this Framework is organised into focus areas. Each focus area prescribes the scope of learning for the HSC. This is drawn from the associated units of competency.

Students undertaking the 240 indicative hour course from the Electrotechnology Curriculum Framework must address all of the mandatory focus areas.

The Electrotechnology Curriculum Framework mandatory focus areas are:

Components, tools and equipment

Drawings, diagrams and compliance

Safety

Single path circuits

Sustainability

Working in the industry.

The associated mandatory units of competency for each of the focus areas are outlined in Section 2.5.1 of this syllabus.

The HSC examination in Electrotechnology is based on the HSC Content in this Framework (refer to Section 4 of this syllabus).

## 3.1	Components, tools and equipment – mandatory focus area

### 3.1.1	Outcomes

The student:

applies knowledge and understanding of electrical fabrication and fitting

justifies the selection of components, tools and equipment for specific industry tasks

explains a range of techniques used in the energy sector for fixing, securing and mounting accessories

applies methods to measure and calculate quantities.

### 3.1.2	Associated units of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated units of competency:

UEECD0019	Fabricate, assemble and dismantle utilities industry components

UEECD0020	Fix and secure electrotechnology equipment*

The application and elements for these units of competency are provided below.

*	For HSC courses purposes, an RTO may choose to deliver UEECD0052 Use routine equipment/plant/
technologies in an energy sector environment (prerequisite UEECD0007) instead of UEECD0020, provided all aspects of the HSC content in this Components, tools and equipment focus area are covered as outlined in Section 3.1 of this syllabus.

UEECD0019	Fabricate, assemble and dismantle utilities industry components

Application	This unit involves the skills and knowledge required to fabricate, assemble and dismantle utilities industry components using fitting and metal fabrication techniques.

It includes the safe use of hand tools, fixed and portable power tools; cutting, shaping, joining and fixing; using metallic and non-metallic materials; dismantling and assembling equipment; mechanical measurement and marking out; and reading drawings/diagrams.

Elements	1.	Prepare for dismantling, assembling and fabrication work

2.	Dismantle and assemble utilities industry apparatus

3.	Fabricate utilities industry components.

Assessment requirements for UEECD0019 Fabricate, assemble and dismantle utilities industry components are detailed in the Training Package.

UEECD0020	Fix and secure electrotechnology equipment

Application	This unit involves the skills and knowledge required to fix, secure and mount electrotechnology equipment to hollow walls, solid walls and metal fixings.

It includes the safe use of hand and portable tools/power tools and the selection and safe application of fixing devices and supporting accessories/equipment.

Elements	1.	Prepare to fix and secure electrotechnology equipment

2.	Install fixing and support devices

3.	Complete fixing and support work.

Assessment requirements for UEECD0020 Fix and secure electrotechnology equipment are detailed in the Training Package.

### 3.1.3	Scope of learning for the HSC

mechanical/engineering drawings and sketches

a range of drawing and sketch types: pictorial: isometric oblique orthogonal (third angle orthographic projection) detail assembly freehand

drawing mechanical components: terminology basic abbreviations and symbols layout standards and conventions as specified in AS 1100

interpretation of a range of drawings and sketches: version status unit(s) of measurement used object(s) represented instruction(s) given action(s) to be taken in response

materials

types of materials used in the industry: metallic and non-metallic hazardous and non-hazardous

handling, application, transport and storage of timber, plastics, metals and plasterboard

measuring, calculating and determining quantities for a range of projects of varying complexity: appropriate units of measurement for material being used: mass length area volume materials lists minimisation of waste scale drawings stock sizes

consequences of incorrect measurements and calculations for the: client organisation/company environment

hand and power tools

for a range of tools: name and general features purpose and limitations selection for task/job requirements safe use in the workplace: hazard(s) and appropriate risk control(s) use of personal protective equipment (PPE) standard operating procedures (SOP) testing and tagging cord connected electrical equipment use/operation cleaning and maintenance storage

hand and portable electric power tools used in the industry, including those used for: general use: drill grinder hammer jigsaw screwdriver spanner and socket measuring and marking out: ruler scriber square tape measure holding: bench vice clamp multi-grip spanner vice grip cutting: chisel file pliers saw tapping and threading: stock and die tap tap wrench

measuring and marking out: reasons for measuring and marking out work practices to reduce waste procedures for accurate measuring and marking: use of low-tolerance measurement methods of expressing tolerance

hand and power tools, continued

acceptable amounts of tolerance manufacturing tolerance how and where to use vernier calipers and micrometers

holding, cutting, shaping and finishing: safe work practices standard work procedures and techniques working with metallic and non-metallic components/materials

drilling: safe work practices standard work procedures and techniques working with metallic and non-metallic components/materials sharpening drill bits bench/pedestal drill use

tapping and threading: type and size of commonly used threads safe work practices standard work procedures and techniques working with metallic and non-metallic components/materials

fixing, securing and mounting accessories

general accessories that may be fixed to hollow and solid walls, wood, masonry, plasterboard, panelling and metal

different requirements for fixing, securing and mounting accessories to hollow and solid walls, wood, masonry, plasterboard, panelling and metal

types of devices used to fix and support accessories to: hollow walls: brackets: behind plaster stud devices: plasterboard toggle coach bolts hollow wall anchors screws: metal thread self-drilling self-tapper wood solid walls: devices: expanding concrete fixing, such as dynabolts and loxins chemical wall-plugs

fixing, securing and mounting accessories, continued

metal: coach bolts hollow wall anchors rivets screws: metal thread self-tapper

for a range of devices used to fix and support accessories: application and limitations selection for task/job requirements: for loads of < 5 kg, < 20 kg and < 50 kg suitability for environment in which accessories are to be installed suitability for maintenance or development work

methods and techniques used to fix and support accessories to hollow and solid walls, wood, masonry, plasterboard, panelling and metal according to: manufacturers’ instructions SOP technical standards and job specifications

for a range of tools used to fix and support accessories to hollow and solid walls, wood, masonry, plasterboard, panelling and metal: name and general features purpose and limitations selection for task/job requirements safe use in the workplace: hazard(s) and appropriate risk control(s) use of PPE SOP use/operation cleaning and maintenance storage

using adhesives and tapes to fix and support accessories: accessories that may be fixed using adhesive or tape types of adhesives and tapes, including their application and limitations selection for task/job requirements techniques and tools used hazard(s) and safety measure(s)

fabricating components

sheet metal materials commonly used in electrotechnology work: types: stainless steel cold rolled steel pre-plated steel aluminium

fabricating components, continued

gauge applications

for a range of tools used in sheet metal work: name and general features purpose and limitations selection for task/job requirements safe use in the workplace: hazard(s) and appropriate risk control(s) use of PPE SOP use/operation cleaning and maintenance storage

tools used with sheet metals in electrotechnology work: chisel folding/bending machines hacksaw guillotine notching punch tin snip

methods and techniques used in joining components according to: SOP technical standards and job specifications

work practices to reduce waste when fabricating sheet metal

joining components

for a range of tools used in joining components: name and general features purpose and limitations selection for task/job requirements safe use in the workplace: hazard(s) and appropriate risk control(s) use of PPE SOP use/operation cleaning and maintenance storage

methods and techniques used in joining components: according to: SOP technical standards and job specifications including: using machine screws and nuts

joining components, continued

soft and/or hard soldering brazing welding: oxyacetylene electric arc

dismantling and assembling equipment

for a range of tools used to dismantle and assemble electrotechnology equipment: name and general features purpose and limitations selection for task/job requirements safe use in the workplace: hazards and appropriate risk controls use of PPE SOP use/operation cleaning and maintenance storage

standard procedures for dismantling and assembling electrotechnology equipment

modifying metal and plastic enclosures

safe treatment of dismantled components: marking storage

## 3.2	Drawings, diagrams and compliance – mandatory focus area

### 3.2.1	Outcomes

The student:

explains the use of architectural and electrical drawings and diagrams

interprets standard layouts, features and conventions used in drawings and diagrams in the industry

applies information from drawings, diagrams, schedules and manuals for specific energy sector work functions

demonstrates understanding of compliance standards, codes and job specifications for various energy sector work functions.

### 3.2.2	Associated unit of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated unit of competency:

UEECD0051	Use drawings, diagrams, schedules, standards, codes and specifications

The application and elements for this unit of competency is provided below.

UEECD0051	Use drawings, diagrams, schedules, standards, codes and specifications

Application	This unit involves the skills and knowledge required to use drawings, diagrams, cable schedules, industry standards, codes of practice and specifications as they apply to various electrotechnology work functions.

It includes interpreting schematic, wiring and mechanical diagrams, equipment and cable/connection schedules and manuals; and the use and format of compliance standards, codes and job specifications used in the electrotechnology industry. It also includes the use of site and architectural drawings/plans to show the location of services, apparatus, plant and machinery.

Elements	1.	Prepare to use drawings, diagrams, schedules and manuals

2.	Use drawings, diagrams, schedules and manuals to obtain job information

3.	Use drawings, diagrams, schedules and manuals to convey information and ideas

4.	Comply with industry standards, codes of practice and specifications.

Assessment requirements for UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications are detailed in the Training Package.

### 3.2.3	Scope of learning for the HSC

working with drawings, diagrams, schedules and manuals

importance of using drawings, diagrams, schedules and manuals that suit the nature of the work function to be undertaken

for a range of drawings, diagrams and schedules used in the industry: standard layouts common features Australian Standard symbols, including AS/NZS 1102 abbreviations and terminology conventions

reading and interpreting drawings, diagrams, schedules and manuals to obtain and convey information

procedures for obtaining and using drawings, diagrams, schedules and manuals in an energy sector workplace

importance of ensuring currency of version and status of amendments

architectural drawings

types of architectural drawings used in the industry, their purpose, key features and the differences between them: floor plan site plan standard drawing detailed drawing

layout and/or location of: accessories and appliances builders’ supplies communications and data services consumer mains distribution boards lighting main switchboard power service point

standard drawing scales and legends, and Australian Standard symbols, including AS/NZS 1100

relationship to building construction work

main structural elements in a building, and their representation in drawings and diagrams: frames: metal timber masonry: brick veneer double brick

relationship to building construction work, continued

footings floors roofs walls: interior exterior

typical cable routes through buildings, structures and premises

sequence of constructional stages for brick, brick veneer and timber cottages

stages at which the first and second fixing of electrical and communications installations occurs in the constructional sequence

areas of cooperation between electrical and communications work and other building trades

electrical drawings and diagrams

types of electrical drawings and diagrams used in the industry, their purpose, key features, and application: block circuit ladder wiring

circuit and wiring diagrams: purpose conventions used common symbols sketching connecting equipment converting a circuit diagram to a wiring diagram

cable schedules: interpreting cable type, origin and route from a schedule developing a schedule for a given installation

developing switching charts to identify terminals of various types of switches

compliance

an understanding of the difference between a regulation, standard and code of practice

scope of work in the industry covered by electrical licensing

awareness of legislative requirements related to the safe installation of electrical and/or electronic equipment

technical standards that apply to electrical and/or electronic work: performance versus prescriptive requirements types: mandated under regulation or by an authority

compliance, continued

deemed-to-comply local service requirement purpose and development relationship to compulsory and accreditation compliance schemes arrangement and use how to read and apply

primary role/function of: Standards Australia International Organization for Standardization (ISO) International Electrotechnical Commission (IEC)

codes of practice for electrical and/or electronic work related to: Building Code of Australia (BCA) cable penetrations fire protection installations safe working practices

purpose, format and content of job specifications typical to work functions undertaken in an energy sector workplace and specific job role, including the NATSPEC (trade name) specification system

## 3.3	Safety – mandatory focus area

### 3.3.1	Outcomes

The student:

applies workplace health and safety (WHS) legal requirements, principles and practices in the electrotechnology industry

explains workplace policy, procedures and practices that ensure the safety of energy sector workers, colleagues and clients

applies risk assessment and risk management principles in an energy sector workplace

proposes responses to emergency situations in an energy sector workplace.

### 3.3.2	Associated unit of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated unit of competency:

UEECD0007	Apply work, health and safety regulations, codes and practices in the workplace

The application and elements for this unit of competency is provided below.

UEECD0007	Apply work, health and safety regulations, codes and practices in the workplace

Application	This unit involves the skills and knowledge required to apply work health and safety (WHS)/occupational health and safety (OHS) regulations and codes of practices in the electrotechnology workplace.

It includes applying safe working practices, following workplace procedures for hazard identification and risk control. It also includes electrotechnology worker responsibilities and application for health and safety, risk management and adherence to safety practices as part of electrotechnology work functions when preparing to enter a work area.

Elements	1.	Prepare to enter an electrotechnology workplace

2.	Apply safe electrotechnology working practices

3.	Follow electrotechnology workplace procedures for hazard identification and risk control.

Assessment requirements for UEECD0007 Apply work, health and safety regulations, codes and practices in the workplace are detailed in the Training Package.

### 3.3.3	Scope of learning for the HSC

work health and safety (WHS)

meaning of health and safety

implications of the cost of workplace injury: human social economic organisational

acknowledge that WHS is everyone’s responsibility in the workplace and the implications of this responsibility

concept of ‘participation’ and ‘consultation’ in relation to WHS

primary role/function of key bodies involved in WHS: SafeWork NSW Safe Work Australia local councils professional associations unions

importance of acting within the level of authority/scope of responsibility in relation to WHS in the workplace: taking initiative problem-solving decision-making

WHS compliance

difference between an act, regulation, code of practice and standard (Australian, industry and workplace)

purpose and intent of WHS legislation and codes of practice and their application to the industry and energy sector workplace and a specific job role: WHS legislation: Work Health and Safety Act 2011 (NSW) (as amended) Work Health and Safety Regulation 2017 (NSW) (as amended) codes of practice related to: first aid in the workplace hazards at work hazardous chemicals hazardous manual tasks risk of falls WHS consultation, cooperation and coordination WHS risks working with electricity

WHS rights and responsibilities of the person conducting a business or undertaking (PCBU), officer and worker (as defined in the legislation)

WHS compliance, continued

functions and powers given to WHS inspectors

awareness of electrical work requiring licensing

consequences of failure to observe (non-compliance) WHS workplace policy and procedures and legislative requirements

safety signs, symbols and barricades used in the industry and their use in the workplace: legislative requirements meaning of colour and shape appropriate placement and positioning

requirements (including election/formation) of a health and safety committee or health and safety representative (HSR) and their role and responsibilities in the workplace

industry and workplace requirements for monitoring and reporting in relation to workplace safety

describe how, when and to whom to report: types: formal/informal written verbal reporting to appropriate persons

purpose and importance of monitoring and reporting

apply workplace policy and protocols and regulatory requirements when recording and reporting in relation to WHS

risk management

difference between a hazard and a risk

risk management and its application in the energy sector workplace: hazard identification: potential hazards to self, colleagues and clients typical to the industry range of hazards: human factors (self, client and others) manual handling materials, including: - asbestos (common asbestos-containing building materials, warning signs to indicate presence, effects on body, reporting) - silica (common materials containing crystalline silica (silica dust), methods for releasing silica dust, recommended levels of exposure, effects on body) tools and equipment work environment work processes and practices working with electricity, at heights and in confined spaces risk assessment risk control using a hierarchy, including: eliminate the risk minimise the risk:

risk management, continued

substitution modification isolation engineering control other controls: administrative safe work practices personal protective equipment (PPE) monitor and review

basic understanding of the: short and long-term effects of excessive noise, and techniques to avoid damage to hearing effects of vibration, thermal stress and ultraviolet (UV) radiation on the human body and work practices to protect the body dangers associated with laser-operated tools and equipment, and suitable PPE occupational overuse syndrome, how it occurs and means to overcome it factors that cause stress in the workplace, symptoms of a person suffering from stress and personal stress-management techniques detrimental effects and dangers of drug and alcohol use in the workplace

safe work procedures and practices

safe work procedures and practices and their purposes: WHS induction training (general, work activity and site-specific) adherence to: safe work method statement (SWMS) job safety analysis (JSA) standard operating procedures (SOP) work area access permits, clearances and isolation permissions Certificate of Compliance Electrical Work (CCEW) selection, use and maintenance of PPE manual handling techniques: when working individually, in pairs and with a team: lifting, carrying and placing items down moving loading and unloading recommended weight limits hazardous substances and dangerous goods: correct handling, application, labelling, transport and storage safety data sheet (SDS) working at heights: ladders: selection safety check precautions when ascending and working from and around precautions when working on and around scaffold and elevated work platforms tools and equipment: appropriate selection, correct use and maintenance safety and lockout tagging working with electricity:

safe work practices and procedures, continued

precautions to minimise the chance of electric shock, including the use of: a circuit breaker earthing extra-low voltage a fuse a residual current device (RCD) safe isolation of an electrical supply housekeeping: clean-up procedures storage and disposal of waste consideration of WHS and the environment

importance of safe work practices and procedures

propose safe work practices and procedures for an energy sector workplace and job role

incidents, accidents and emergencies

meaning of incident, accident and emergency

a range of incidents, accidents and emergencies common to the energy sector work environment

distinguish between a manageable first aid situation and an emergency situation

a range of potential injuries common to an energy sector workplace, their cause(s) and basic first aid for these injuries

strategies to reduce workplace accidents, injury or impairment

responding to incidents, accidents and emergencies: emergency situations seeking assistance emergency contact numbers emergency signals, alarms and exits: location use procedures to follow: notification workplace policy and procedures: evacuation securing workplace/building reporting basic process of fighting a fire and use of firefighting equipment: fire blanket fire extinguishers: types location, mounting and maintenance fire hose and reel role of personnel in an emergency

incidents, accidents and emergencies, continued

awareness of the effects of electric shock on the human body

common causes of electrical accidents in an energy sector workplace

safe removal of an electric shock victim from a ‘live’ electrical situation

meaning of ‘duty of care’ in relation to first aid

awareness of legal and ethical issues which may impact on management of care

personnel responsible for first aid

responsibilities of a first aider

principles of first aid: DRSABCD: danger response send for help airway breathing CPR defibrillator (if available) general: assessment management seek assistance access equipment/resources monitor reassure

apply the principles of first aid in response to first aid scenarios

apply workplace policy and protocols and regulatory requirements when recording and reporting in relation to first aid

## 3.4	Single path circuits – mandatory focus area

### 3.4.1	Outcomes

The student:

demonstrates understanding of electrical concepts and principles

analyses performance characteristics of single path circuits

solves problems in single path circuits

designs single path circuits to comply with specified parameters.

### 3.4.2	Associated unit of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated unit of competency:

UEECD0046	Solve problems in single path circuits

The application and elements for this unit of competency is provided below.

UEECD0046	Solve problems in single path circuits

Application	This unit involves the skills and knowledge required to solve problems in single path circuits.

It includes working safely; applying problem-solving procedures, including the use of basic voltage, current and resistance measuring devices; and providing known solutions to predictable circuit problems.

Elements	1.	Prepare to work on single path electrical circuits

2.	Solve problems in single path electrical circuits

3.	Complete work and document problem solving activities.

Assessment requirements for UEECD0046 Solve problems in single path circuits are detailed in the Training Package.

### 3.4.3	Scope of learning for the HSC

safe work practices and procedures

safe work practices and procedures when: working with electricity measuring electrical values on a live circuit isolating a circuit or device selecting and using test instruments testing or measuring ‘live’ dealing with unexpected situations or unplanned events

risk management

electrical concepts

the nature of electricity, including electron theory

types of electricity: static current: conventional current electron flow alternating current (a.c.) and direct current (d.c.)

production of electricity by renewable and non-renewable energy sources

transportation of electricity from the source to the load via the transmission and distribution systems

utilisation of electricity by various loads

meaning of: ‘live’ and ‘dead’ circuits ‘on-line’ and ‘off-line’ energised and isolated closed circuit and open circuit

International System of units (SI): electric current electric potential force power resistance speed velocity work/energy

conversion of units to multiple and sub-multiple units

performing calculations using: engineering prefixes scientific notation transposition of formulae

electrical current

measurements and calculations for a range of tasks/projects of varying complexity

basic principles by which current produces: heat light magnetic fields chemical reactions, including corrosion of metals

typical uses of the effects of current

awareness of the physiological effects of current

the fundamental principles as listed in AS/NZS 3000 for protection against: physiological effects of current damaging effects of current

energy and power

principle of conservation of energy

basic principles of producing an electromotive force (EMF): from the interaction of a conductor in a magnetic field from the heating of one junction of a thermocouple by the application of sunlight falling on surfaces of photovoltaic cells when a mechanical force is applied to a crystal (piezo electric effect)

principles of producing electrical current from chemical reactions involving primary, secondary and fuel cells

electrical wiring, machines and systems: input and output (I/0) efficiency effect of losses

relationship between force, power, work and energy

calculation of power dissipated in a circuit from voltage, current and resistance values

effects of power rating of various devices and resistors

measurement of electrical power in d.c. circuits

electrical circuit

components of a simple circuit and their purpose: conductor energy source/power supply load switch over-current protection device: fuse circuit breaker residual current device (RCD) residual current circuit breaker with overcurrent protection (RCBO)

electrical circuit, continued

symbols used to represent each component in a circuit diagram

effects of an open circuit, a closed circuit, and a short circuit

appropriate multiple and sub-multiple units of measured and expected circuit values

industry terminology used to describe circuit conditions

Ohm’s law

principle of Ohm’s Law (V=IR)

relationship between voltage, current and resistance

relationship between voltage and current from measured values in a simple circuit

determining voltage, current and resistance in a circuit given any 2 of these quantities

graphical relationships of voltage, current and resistance

basic d.c. single path circuit: voltage and current levels relationship between voltage and current from measured values effects of open circuit, closed circuit, and short circuit

series circuits

production and analysis of a circuit diagram for a single path, single source circuit

identification of major components of a series circuit: power supply protection device conducting path switch loads

characteristics of ‘series’ circuits: current path load connection power dissipation voltage drops voltage (V = V1+V2+...+Vn), current, resistances (Rt = R1+R2...+Rn) or power dissipated (P = VI and P = P1+P2+...+Pn)

effects of an open and short circuit in a ‘series’ connected circuit

applications where ‘series’ circuits are used in the industry

setting up and connecting single source, single path circuits

relationship between voltage drops and resistance in a simple voltage divider network

measuring, calculating and recording resistance, voltage, current and power values in a single source, single path circuit

resistors

types of resistors: fixed variable temperature dependent voltage dependent light dependent

identification by: power rating tolerance colour coding or marking

characteristics and typical applications of resistors: fixed: carbon film tapped wire wound variable: adjustable: - potentiometer - rheostat light dependent resistor (LDR) voltage dependent resistor (VDR) temperature dependent resistors: - positive temperature coefficient (PTC) - negative temperature coefficient (NTC)

measurement of resistance of a range of resistors under varying conditions of light, voltage and temperature

factors affecting resistance of a conductor: type of material (resistivity) length cross-sectional area temperature

the resulting effect on resistance when there are changes to each of these factors

calculation of the resistance of a conductor (R=ρl/A)

measuring change in resistance: using a digital and an analogue ohmmeter for a range of conductive materials, including copper, aluminium, nichrome and tungsten when the materials undergo a change in length, cross-sectional area and temperature

measuring and testing

appropriate meter selection for a range of applications in terms of: values to be measured: voltage current

measuring and testing, continued

resistance insulation resistance range loading effect accuracy

potential hazards involved when using electrical instruments and safety control measures that should be taken

operating characteristics of analogue and digital meters and typical circumstances in which they are used

techniques for: reading the scale of an analogue meter, zeroing and reducing parallax error reading and interpreting digital readouts

voltmeters and ammeters: types, including bench, clamp and multimeter characteristics and purpose methods for use

voltage indicator tester: types: LED neon series solenoid volt-stick purpose, operation and advantages and disadvantages of each voltage indicator tester

measuring resistance using direct, volt-ammeter (short and long shunt) and bridge methods

insulation resistance (IR) test: purpose, including where and why the IR test would be used in an electrical installation analogue and digital IR testers: parts and functions operation: why the supply must be isolated prior to use voltage ranges and where each range may be used AS/NZS 3000 Wiring Rules requirements measurement of low and high values purpose of regular calibration

continuity test: purpose, including where and why the continuity test would be used in an electrical installation AS/NZS 3000 Wiring Rules requirements

dangers and consequences of incorrect connection and settings

handling and storage of measuring and testing equipment

problem-solving

fault-finding and problem-solving, including how to: identify a problem consider a solution take corrective action record follow up

solving a range of routine problems in single path circuits: using safe work procedures utilising sustainable energy practices without damage to apparatus, circuits and surrounding environment or services within level of authority and with the approval of an authorised person

established methodological techniques used to solve single path circuit problems from measured and calculated values as they apply to electrical circuits

circuit problems: determining the operating parameters of an existing circuit identifying and locating open circuits and short circuits altering an existing circuit to comply with specified operating parameters developing circuits to comply with a specified function and operating parameters identifying loss of supply

known solutions to a range of common/predictable problems in relation to single path circuits

apply workplace policy and regulatory requirements when recording and reporting solutions used to solve single path circuit problems

## 3.5	Sustainability – mandatory focus area

### 3.5.1	Outcomes

The student:

demonstrates understanding of sustainable energy principles

demonstrates understanding of environmental legal requirements, principles and practices in an energy sector workplace

assesses an energy sector workplace in relation to environmentally sustainable work practices

proposes work practices for an energy sector work environment to minimise energy and material usage

proposes solutions for energy efficiency and sustainability.

### 3.5.2	Associated unit of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated unit of competency:

UEERE0001	Apply environmentally and sustainable procedures in the energy sector

or

UEERE0021	Provide basic sustainable energy solutions for energy reduction in residential premises

The application and elements for these units of competency are provided below.

UEERE0001	Apply environmentally and sustainable procedures in the energy sector

Application	This unit involves the skills and knowledge required to apply environmentally sustainable procedures in the energy sector.

It includes identifying and applying sustainable methods of work practice that minimise energy and material usage and to apply energy reduction strategies in the energy sector workplace.

Elements	1.	Identify sustainable work practice

2.	Apply sustainable work practice

3.	Complete workplace documentation.

Assessment requirements for UEERE0001 Apply environmentally and sustainable procedures in the energy sector are detailed in the Training Package.

UEERE0021	Provide basic sustainable energy solutions for energy reduction in residential premises

Application	This unit involves the skills and knowledge required to provide sustainable energy solutions for energy reduction in residential premises.

It involves preparing for and monitoring of energy use and providing solutions for energy reduction. It also includes completing monitoring activities and reporting.

Elements	1.	Prepare to monitor energy usage and provide solutions for energy reduction

2.	Undertake monitoring of energy usage and provide solutions for energy reduction

3.	Complete monitoring activities and report.

Assessment requirements for UEERE0021 Provide basic sustainable energy solutions for energy reduction in residential premises are detailed in the Training Package.

### 3.5.3	Scope of learning for the HSC

environment – issues and sustainability

current environmental issues affecting the energy sector industry: climate change conservation energy usage and efficiency pollution recycling/re-use resource use and efficiency sustainability waste management water and other natural resource management

concepts of sustainability in the workplace and environmentally sustainable work practices

economic benefits of sustainable initiatives

possible effects of neglecting environmentally sustainable work practices and consequences for the workplace and the environment

concept of: carbon footprint carbon neutral renewable energies and clean technologies

climate change

meaning of climate change

causes and consequences of the greenhouse effect

awareness of national and international greenhouse imperatives to reduce carbon pollution and create a clean energy future

main features of the Australian Government’s Clean Energy Future: introduction of a carbon price promoting innovation and investment in renewable energy encouraging energy efficiency creating opportunities in the land sector to cut pollution

sustainable energy

difference between renewable and non-renewable energy

understanding of: sustainable energy sustainable energy practices: changes in the way energy is supplied and used use of renewable energy sources: biomass geothermal

sustainable energy, continued

hydro, including micro-hydro solar, including radiation, thermal, photovoltaic (PV) tidal wave wind use of technologies that improve energy efficiency

terminology, units, symbols and conversions relating to solar, wind and hydro sources of renewable energy

current economic, social, environmental and political issues impacting on renewable energy technology

sustainable energy solutions for energy reduction in residential premises

energy consumption measurements and assessment for consumer efficiency

compliance

definition of: compliance best practice

awareness of levels of compliance in relation to environmental requirements: workplace industry government (local, State/Territory and Commonwealth) international

purpose and intent of environmental legislation and implications for work being undertaken in an energy sector workplace and specific job role: Clean Energy Regulator Act 2011 (Australian Government) (as amended) Clean Energy Legislation (Carbon Tax Repeal) Act 2014 (Australian Government) (as amended) Protection of the Environment Operations Act 1997 (NSW) (as amended)

primary role/function of regulators and key bodies involved in environmental protection: Clean Energy Regulator (Australian Government) Department of Climate Change, Energy, the Environment and Water (Australian Government) NSW Environment Protection Authority (EPA) NSW Department of Planning and Environment local council

consequences of failure to comply with environmental requirements

energy sector workplace

characteristics and potential environmental impact of materials, products and workplace practices used or found in an energy sector work environment

energy sector workplace, continued

work practices and domestic, commercial and industrial strategies in the energy sector that, directly and indirectly, minimise usage and wastage of:

energy: efficient use reduction in consumption energy audits opportunities for use of: alternative forms of energy renewable energy technologies energy-saving activities use of energy-efficient devices, equipment and technologies energy-efficient retrofits materials: accurate measurements and calculations recycling purchase sustainable products reduce amounts used use of biodegradable/non-toxic materials use of renewable, recyclable, reusable and recoverable resources

environmental responsibilities of the energy sector workplace and individual worker

propose improvements for environmentally sustainable work practices: individual worker team workplace

workplace policy, procedures and systems for environmental compliance and best practice

## 3.6	Working in the industry – mandatory focus area

### 3.6.1	Outcomes

The student:

demonstrates knowledge of the electrotechnology industry

demonstrates understanding of employment, workplace relations and training in the electrotechnology industry

demonstrates understanding of workplace practices, work ethics and personal attributes valued in the electrotechnology industry.

### 3.6.2	Associated unit of competency

The scope of learning for the HSC must be read and delivered in conjunction with the following associated unit of competency:

UEECD0009	Carry out routine work activities in an energy sector environment

The application and elements for this unit of competency are provided below.

UEECD0009	Carry out routine work activities in an energy sector environment

Application	This unit involves the skill and knowledge required to carry out work activities in an energy sector environment.

It includes preparing, carrying out work activities in the energy sector and checking the quality of work completed.

Elements	1.	Prepare work activity

2.	Carry out work activity

3.	Check completed work.

Assessment requirements for UEECD0009 Carry out routine work activities in an energy sector environment are detailed in the Training Package.

### 3.6.3	Scope of learning for the HSC

nature of the industry

general features of the industry, including its relationship to other industries

sectors within the industry: appliances business equipment computers data communications electrical (generation, supply, consumption) electronics (consumer, commercial, industrial) fire protection instrumentation refrigeration and air-conditioning renewable/sustainable energy security technology

for sectors within the industry: primary role/function(s) product(s) and/or service(s) provided occupational areas examples of businesses

interrelationships between sectors and effects on an individual’s work and client outcomes

scope of work across the industry: design installation maintenance production servicing

primary role(s) and duties performed by a range of energy sector personnel

careers and training

awareness of energy sector vocational streams: communications (telecommunications, data, information technology) computer systems electrical (mechanic, fitter) electricity supply (generation, transmission, distribution) electronics gas instrumentation and control lifts rail signalling refrigeration and air-conditioning

vocational education and training and the industry: difference between an apprenticeship and a traineeship

careers and training, continued

competency-based training and assessment: Australian Qualifications Framework (AQF) qualification(s) qualification packaging rules unit(s) of competency registered training organisations (TAFE NSW and other providers) classifications licensing requirements minimum requirements for a licensed electrician

career pathways for a specific industry area/sector within the industry and the knowledge and skills required for different job roles

preparation to enter a career path in the industry: job application: research writing methods of applying job interview: preparation presentation post-interview evaluation

employment

types of employment in the industry: full-time part-time casual contract

the differences between an award, registered agreement and contract, and how they apply to workers in the industry

investigate the employment terms and conditions for a specific job role

working knowledge of employer and employee rights and responsibilities in relation to employment and work

primary role/function(s) of a range of key industry bodies for both employers and employees: industry stakeholders: NSW Utilities & Electrotechnology Industry Training Advisory Body (NSW U&E ITAB) unions and employee groups: Communications, Electrical Plumbing Union (CEPU) Electrical Trades Union (ETU) employer groups professional associations: Master Electricians Australia (MEA) National Electrical and Communications Association (NECA)

employment, continued

training: organisation responsible for the development of the industry’s Training Package and qualifications regulator: Australian Communications and Media Authority (ACMA) Electrical Regulatory Authorities Council (ERAC) NSW Fair Trading

energy sector worker

personal attributes and work ethic valued by the industry

interpersonal skills beneficial to an individual working in an energy sector workplace

importance of personal presentation and standards of personal hygiene

presentation standards for a specific energy sector workplace and job role

behaviour to support a safe and sustainable energy sector work environment

duties and responsibilities: for a specific job role within the industry relationship between an individual worker and the team or work group differences between individual and workplace goals and plans

work tasks and practices

tasks typical to an energy sector workplace (routine, rostered and non-routine)

access and use a range of sources for work instructions: Australian Standards drawing/diagram/sketch job card/sheet/specifications legislation, regulations and codes of practice manufacturer and/or workplace manual(s) schedule of work/work plan standard operating procedures (SOP) workplace policy, procedures and guidelines

information provided in a schedule of work/work plan: designated work task(s) tools, equipment, technologies and materials for use procedures for pre-start and safety checks, and operating instructions, for tools and equipment timeframe for work completion quality measures supervisor’s instructions reporting procedures and requirements

strategies for understanding and clarifying work instructions

work tasks and practices, continued

a range of opportunities to read, interpret and follow instructions for a range of work tasks of varying degrees of difficulty

an awareness that work practices and experiences differ between workplaces

how work practices are implemented and maintained in accordance with industry standards and workplace policy and procedures

safe and sustainable work practices and procedures for a workplace within the industry

effect of poor work practices on colleagues, the organisation/company, the industry and clients

time and task management: principles techniques prioritisation constraints

work sequencing: receiving instruction organising for the task: select tools and equipment locate materials and/or parts personal protective equipment (PPE) carrying out the task: in a logical order within completion timeframes according to quality measures final checks and notification of completion clean-up after task completion

planning and preparation for a range of tasks/activities applicable to: daily work routines in a general energy sector context a specific industry area

application of time management techniques to work tasks/activities in an energy sector context

dealing with unplanned events: the importance of acting within level of authority and scope of responsibility: taking initiative problem-solving decision-making identify when it is appropriate to seek assistance or refer to other appropriate personnel

quality assurance: definition role of employees implications of non-adherence quality system procedures as they apply to the individual’s own job/task/duties compliance tests/checks to be undertaken to ensure quality assurance of finished product SOP for non-compliance of work outcome to specification(s) workplace practices for final approval and ‘sign-off’ at work completion

work tasks and practices, continued

importance of workers: checking/clarifying work-related information and work instructions, including client requirements taking responsibility for the quality of their own work using accepted industry and workplace techniques/practices and procedures producing work outcomes to specification(s) using safe and sustainable work practices

lines of communication and reporting typical in an energy sector workplace

recording and reporting in the industry: types of work records and their purpose, including those: used in an energy sector work environment required by legislative and/or regulative requirements workplace policy and procedures applying to record-keeping and reporting: methods used (manual and electronic) expectations for the maintenance of work records

working with others

importance of developing collegial work relationships

communication in the workplace with colleagues and clients: communication process/cycle: sender (idea) message (encoding) transmission receiver (decodes message and interprets meaning) feedback effective verbal, nonverbal and written communication effective questioning and listening techniques barriers to effective communication and strategies to overcome them

importance of teamwork for the industry, including cross-trade cooperation

teamwork: meaning of ‘team’ and ‘teamwork’ characteristics of effective teamwork benefits of teamwork to the energy sector workplace examples of teams or work groups in an energy sector workplace and their area(s) of responsibility

delivering quality work outcomes through teamwork and work groups

causes of misunderstandings and conflict when working with others and conflict-resolution techniques

anti-discrimination

bullying and harassment in the workplace: indirect direct types: verbal physical psychological sexual

principles of anti-discrimination

intent of anti-discrimination legislation

reciprocal rights and responsibilities of employers and employees

workplace policy and procedures relating to anti-discrimination

strategies to eliminate bias and harassment in the workplace

consequences, including legal ramifications, of discriminatory workplace behaviour

recourse available to individuals in the event of inappropriate workplace behaviour

# 4	HSC examination

The Electrotechnology Curriculum Framework includes an HSC examination which provides the opportunity for students to have this HSC examination mark contribute to the calculation of their Australian Tertiary Admission Rank (ATAR).

The Electrotechnology HSC examination can contribute up to 2 units towards the calculation of a student’s ATAR.

Students who have completed the Electrotechnology (240 indicative hours) course are eligible to sit for the Electrotechnology HSC examination.

Students who want to sit for the Electrotechnology HSC examination must be entered for both the Electrotechnology (240 indicative hours) course and the Electrotechnology examination on Schools Online.

For the HSC examination specifications, which describe the format of the external HSC examination, see Assessment and Reporting in Electrotechnology.

The HSC examination is independent of the competency-based assessment undertaken during the course and has no impact on student eligibility for AQF VET qualifications.

## 4.1	Examinable outcomes and content

The HSC examination in Electrotechnology is based on the HSC Content (focus areas) in this Framework.

The HSC Content is detailed in Section 3 of this syllabus.

## 4.2	Relationship of the 240-hour course structure to the HSC examination

For a description of the relationship between the Electrotechnology (240 indicative hours) course structure, the HSC Content and the HSC examination see Assessment and Reporting in Electrotechnology.

# 5	Other important information

## 5.1	Exclusions

Where there is significant overlap between an HSC VET course and other HSC VET or general education courses, NESA has an exclusion between the courses. Exclusions are generally applied at a course level rather than at the unit of competency level.

Students can only undertake the Electrotechnology (120 indicative hours) course or the Electrotechnology (240 indicative hours) course.

Schools should check all course exclusions when determining an appropriate pattern of study for their students.

## 5.2	Recognition of prior learning (RPL) and credit transfer within VET courses

Students who have current knowledge, skills or experience relevant to a VET course may be granted credit towards the course requirements.

Find out more about arrangements for RPL and credit transfer within VET courses, including processes, application form and examples of possible scenarios.

## 5.3	School-based apprentices and trainees

Read information about provision for school-based apprentices and trainees within the HSC.

Information on requirements and arrangements for NSW school-based apprenticeships and traineeships is available on the NSW government website under Apprentices and trainees.

## 5.4	Industries related to Electrotechnology

VET qualifications consist of technical skills that prepare you for work or further study in a specific job or industry, as well as employability skills that can be applied across a range of industry (or career) pathways.

Industries related to this course include, but are not limited to the following outlined on the Your Career website:

Construction

Other Services

Professional, Scientific and Technical Services

## 5.5	Students with disability

Students with disability may access a VET course in one of 2 ways:

by undertaking the course under regular course arrangements, or

by undertaking selected units of competency within the course that have been identified through the collaborative curriculum planning process.

For more information see VET courses and students with disability and collaborative curriculum planning advice.

## 5.6	Access by students in Years 9 and 10 (Stage 5)

In certain circumstances students in Years 9 and 10 (Stage 5) may access Stage 6 VET courses. Further information is available in the Stage 5 VET section.

# 6	Glossary

| AQF | Australian Qualifications Framework The AQF is the policy framework that defines all qualifications recognised nationally in post-compulsory education and training in Australia. The AQF comprises titles and guidelines that define each qualification, as well as the principles and protocols covering cross-sectoral qualification links and the issuing of qualifications and statements of attainment. |
| --- | --- |
| Australian Apprenticeships | Australian Apprenticeships encompass all apprenticeships and traineeships. They combine time at work with training and can be full-time, part-time or school-based. www.australianapprenticeships.gov.au |
| competency | The broad concept of industry competency concerns the ability to perform particular tasks and duties to the standard of performance expected in the workplace. Competency requires the application of specified skills, knowledge and attitudes relevant to effective participation in an industry, industry sector or enterprise. |
| core units of competency | Units of competency required by the Training Package to be eligible for an AQF VET qualification. |
| elements of competency | The basic building blocks of a unit of competency which describe the key activities or elements of the work covered by the unit. |
| focus areas | HSC Content is organised into focus areas. HSC Content prescribes the scope of learning for the HSC. |
| mandatory units of competency | Units of competency that must be studied for an HSC VET course. |
| recognition of prior learning (RPL) | The result of an assessment of an individual’s formal, non-formal and informal learning to determine the extent to which that individual has achieved the required learning outcomes, competency outcomes, or standards for entry to, and/or partial or total completion of, a qualification. |
| RTO | Registered Training Organisation A training organisation registered by a registering body in accordance with the VET Quality Framework, within a defined scope of registration (including school system RTOs, TAFE NSW and other providers). |
| scope of registration | The particular services and products an RTO is registered to provide. The RTO’s scope defines the specific AQF VET qualifications, units of competency and accredited courses it is registered to provide, and whether it is registered to provide: both training delivery and assessment services, and to issue the relevant AQF VET qualifications and statements of attainment, or only assessment services, and to issue the relevant AQF VET qualifications and statements of attainment. |
| Stage 5 | In NSW, Stage 5 relates to Years 9 and 10 of schooling. |
| Stage 6 | In NSW, Stage 6 relates to Years 11 and 12 of schooling. |
| Statement of Attainment | May be issued in the vocational education and training sector by an RTO when an individual has completed one or more units of competency from nationally recognised qualification(s)/course(s). |
| training.gov.au | http://training.gov.au The national register for recording information about RTOs, Training Packages and accredited courses. |
| Training Package | A nationally endorsed, integrated set of competency standards, assessment guidelines and AQF VET qualifications for a specific industry, industry sector or enterprise. |
| training plan | A documented program of training and assessment required for an apprenticeship/traineeship training contract. It is developed by an RTO in consultation with the parties to the contract as the basis for training and assessing a person undertaking an apprenticeship or traineeship. |
| unit of competency | Specification of industry knowledge and skill and the application of that knowledge and skill to the standard of performance expected in the workplace. |
| VET | Vocational Education and Training |
| VET qualification | Formal certification in the VET sector by an RTO that a person has satisfied all requirements of the units of competency or modules that comprise an AQF VET qualification, as specified by: a nationally endorsed Training Package, or an accredited course that provides training for the qualification. |
| VET Quality Framework | The VET Quality Framework comprises: the Standards for Registered Training Organisations the Fit and Proper Person Requirements the Financial Viability Risk Assessment Requirements the Data Provision Requirements, and the Australian Qualifications Framework. |

www.australianindustrystandards.org.au (Australian Industry Standards)

The Specialisation Study would only be required if the selection of units of competency meant that Stage 1/Year 1 of the apprenticeship could not be completed within the 240-hour Electrotechnology course.

Regulators and bodies named correct at time of publication. Any updates to these names should be considered when delivering HSC Content.

Bodies named correct at time of publication. Any updates to these names should be considered when delivering HSC Content.